## Feuil1
ObjectClass | ObjectProperty | Source | DataElementConceptDef | Example | FormatConceptualDomain | Mandatory/Optional | FHIR OSIRIS | web link | CLB/CREATIS |  | CURIE/LITO |  | IGR |  | ICO/Nantes |  | BERGONIE/Bordeaux
[9 empty] | Standard utilisé | Référence | Standard utilisé | Référence | Standard utilisé | Référence | Standard utilisé | Référence | Standard utilisé | Référence
Observation | Patient's Size | dicomTag (0010,1020) |  |  | string | Mandatory | observation-bodyheight.valueQuantity.value
Observation | Patient’s Weight | dicomTag (0010,1030) |  |  | string | Mandatory | observation-bodyweight.valueQuantity.value
Equipment | Manufacturer’s Model Name | dicomTag (0008,1090) |  |  | string | Optional | Device.deviceName.name
Equipment | Manufacturer | dicomTag (0008,0070) | Manufacturer of the system | SIEMENS' | string | Optional | Device.manufacturer
Study | Study Instance UID | dicomTag (0020,000D) | Unique identifier of the Study containing the referenced Instances. |  | string/number | Mandatory | ImagingStudy.identifier | https://dicom.innolitics.com/ciods/segmentation/common-instance-reference/00081200/0020000d
Study | Study Description | dicomTag (0008,1030) |  |  | string | Mandatory | ImagingStudy.description
Study | acquisition date & time | dicomTag(0008, 0032) | Date and time of the acquisition of the image | (2021, 01, 21, 09, 12) | date & time | Mandatory | ImagingStudy.started
Study | acquisition date & time | dicomTag (0008, 0022)
Study | acquisition date & time | dicomTag(0008, 0021)
Study | acquisition date & time | dicomTag (0008, 0023)
Study | acquisition date & time | dicomTag (0008, 0031)
Study | acquisition date & time | dicomTag(0008, 0033)
Study | location | AE title etc ? IP adress port ? PACS CLB ou web server? ou ID Patient? | Path of the folder containing the dicom files (assuming 1 folder per image) or sop_instace_uid of all files if dicom server | /home/foo/boo/dicom_42 or 1.2.840.113704.1.111.7424.1344257564.6 | path (string) or number | Mandatory | ImagingStudy.location
Study | Institution Name | dicomTag (0008,0080) |  |  | string | Optional
Study | Modalities in Study | dicomTag (0008,0061) |  |  | string | Mandatory | ImagingStudy.modality
Study | Number of Study Related Series | dicomtag(0020,1206) | The number of series that match the Study level Query/Retrieve search criteria | 5 | number | Mandatory | ImagingStudy.numberOfSeries
Series | Series Number | dicomTag(0020,0011) |  |  | string/number | Optional | ImagingStudy.series.number | https://dicom.innolitics.com/ciods/segmentation/general-series/00200011
Series | Series Instance UID | dicomTag (0020,000E) | Unique Id of the serie. One serie have multiple images (ex: MRI T2*, Diff / CT + PET / ...) | 1.2.840.113704.1.111.7424.1344257564.6 | string/number | Mandatory | ImagingStudy.series.uid
Series | Modality | dicomTag (0008, 0060) | Type of equipment that originally acquired the data used to create the images in this Series. | CT, MR, NM, OT, RTSTRUCT, RTDOSE, US | string | Mandatory | ImagingStudy.series.modality |  |  | Tout Image = Serie
Series | Description | dicomTag (00e1, 1040) | Description of the series | Prostate 3mm, T2*, Contour name, Portal time, CT4D phase 0% | string | Mandatory | ImagingStudy.series.description
Series | Description | dicomTag (0008, 103e)
Series | Description | dicomTag (0008, 1030)
Series | Body Part Examined | N | Area of the body in the image | Brain, Head & Neck, Thorax, Abdomen, Pelvis, Knee, whole body | string | Mandatory | ImagingStudy.series.bodySite
Series | Number of Series Related Instances | dicomtag (0020,1209) | The number of composite object instances in a Series that match the Series level Query/Retrieve search criteria | nombre d'images dans la série | number | Mandatory | ImagingStudy.series.numberOfInstances
Series | Software Version | dicomTag (0018,1020)
Injection | Radiopharmaceutical | dicomTag (0018,0031) | Describe which radioactive tracer was administered to the patient | 18F-FDG | string | Mandatory if PT, Optional if NM | MedicationAdministration.medicationCodeableConcept
Injection | Contrast/Bolus Agent | dicomTag (0018,0010) |  |  | string | Optional (modalities CT MR)
Injection | Contrast/Bolus Start Time | dicomTag (0018,1042) |  |  | date & time | Optional (modalities CT MR)
Injection | Contrast/Bolus Stop Time | dicomTag (0018,1043) |  |  | date & time | Optional (modalities CT MR)
Injection | Radiopharmaceutical Start Time | dicomTag (0018,1072) |  |  | date & time | Mandatory if PT, Optional if NM | MedicationAdministration.effectiveDateTime
Injection | Radionuclide Total Dose | dicomTag (0018,1074) |  |  | number | Mandatory if PT, Optional if NM | MedicationAdministration.dosage.dose
Common_Image | SOP Instance UID | dicomtag (0008,0018) | Uniquely identifies the SOP Instance | pose problème car autant de valeurs que d'images | string/number | Mandatory |  | https://dicom.innolitics.com/ciods/pet-image/sop-common/00080018
Common_Image | Slice thickness | dicomTag (0018,0050) | Describe the slice thickness in mm | 3.2' | double | Mandatory
Common_Image | Pixel spacing | dicomTag (0028,0030) | In plane resolution (pixel size), in mm | 1.40625\1.40625' | Array of double | Mandatory
Common_Image | Field of View (FOV)
Common_Image | Rows | dicomTag (0028,0010) | Number of pixel in the row direction in the reconstructed matrix | 320' | double | Mandatory
Common_Image | Columns | dicomTag (0028,0011) | Number of pixel in the column direction in the reconstructed matrix | 320' | double | Mandatory
MR_Image | Sequence Name | dicomTag (0018,0024) | Describe the type of the pulse sequence | fl236_ns', 'tse', ... | string | Mandatory
MR_Image | Magnetic Field Strength | dicomTag (0018,0087) |  |  |  | Mandatory
MR_Image | MR acquisition type | dicomTag (0018,0023) | Describe the type of acquisition, particularly the number of dimension | 2D' or '3D', ... | string | Mandatory
MR_Image | Repetition Time | dicomTag (0018,0080) | Repetition time of the MR pulse sequence in ms. It impact the T1 weighting | 16.2' | double | Mandatory
MR_Image | Echo Time | dicomTag (0018,0081) | Echo time of the MR pulse sequence in ms. It impact the T2 weighting | 4.3' | double | Mandatory
MR_Image | Imaging frequency | dicomTag (0018,0084) | Central frequency of the MR system (in Mhz), linked to the static magnetic field intensity | 123.182122' | double | Mandatory
MR_Image | Flip angle | dicomTag (0018,0024) | Flip angle of the RF pulse in degree . It impact T1 weighting | 5' | double | Mandatory
MR_Image | Inversion Time | dicomTag (0018,0082) |  |  | double | Mandatory
MR_Image | Receive Coil Name | dicomTag (0018,1250) |  |  | string | Mandatory
CT_Image | KVp | dicomTag (0018,0060) | Describe the tube tension in KV | 100' | double | Mandatory
CT_Image | X-ray Tube current | dicomTag (0018,1151) | Tube current in mA | 355' | double | Mandatory
CT_Image | Exposure Time | dicomTag (0018,1150) | Duration of x-ray exposure in ms | 500' | double | Mandatory
CT_Image | Spiral Pitch Factor | dicomTag (0018,9311) | Ratio of the table feed per rotation to the total collimation width | 1' | double | Mandatory
CT_Image | Filter Type | dicomTag (0018,1160) | Type of filter inserted into the X-Ray beam | FLAT' | string | Mandatory
CT_Image | Convolution Kernel | dicomTag (0018,1210) | A label describing the convolution kernel or algorithm used to recontruct the data | l'30f\3' | string | Mandatory
PT_Image | Attenuation Correction Method | dicomTag (0054,1101) |  |  | string | Mandatory
PT_Image | Reconstruction Method | dicomTag (0054,1103) |  |  | string | Mandatory
PT_Image | Scatter Correction Method | dicomTag (0054,1105) |  |  | string | Mandatory
NM_Image | Attenuation Correction Method | dicomTag (0054,1101) |  |  | string | Mandatory
NM_Image | Reconstruction Method | dicomTag (0054,1103) |  |  | string | Mandatory
NM_Image | Scatter Correction Method | dicomTag (0054,1105) |  |  | string | Mandatory
DX_Image | Image Laterality | dicomTag (0020,0062) | Laterality of (possibly paired) body part (as described in Anatomic Region Sequence (0008,2218)) examined | R (right) ¦¦ L (left) ¦¦ U (unpaired) ¦¦ B (both left and right) | string | Mandatory
DX_Image | Patient Orientation | dicomTag (0020,0020) | Patient direction of the rows and columns of the image. | A (anterior) ¦¦ P (posterior) ¦¦ R (right) ¦¦ L (left) ¦¦ H (head) ¦¦ F (foot) ¦¦ LE (Le or Left) ¦¦ RT (Rt or Right) ¦¦ D (Dorsal) ¦¦ V (Ventral) ¦¦ CR (Cr or Cranial) ¦¦ CD (Cd or Caudal) ¦¦ R (Rostral) ¦¦ M (Medial) ¦¦ L (Lateral) ¦¦ PR (Pr or Proximal) ¦¦ DI (Di or Distal) ¦¦ PA (Pa or Palmar) ¦¦ PL (Pl or Plantar) | string | Optional
DX_Image | Anatomic Region Sequence - Code Meaning | dicomTag (0008,0104) | Text that conveys the meaning of the Coded Entry |  | string | Optional
DX_Image | Anatomic Region Sequence - CodeValue | dicomTag (0008,0100) | Shall be present if the code value length is 16 characters or less |  | string | Optional
DX_Image | KVP | dicomTag (0008,0060) | Peak kilo voltage output of the X-Ray generator used. | 120 | number | Optional
DX_Image | Exposure | dicomTag (0018,1152) | The exposure expressed in mAs, for example calculated from Exposure Time and X-Ray Tube Current. | 30 | number | Optional
DX_Image | Exposure Time | dicomTag (0018,1150) | Duration of X-Ray exposure in msec. | 500 | number | Optional
DX_Image | ContrastBolusAgent | dicomTag(0018,0010) | Contrast or bolus agent |  | string | Optional
ROI_Segmentation | ReferencedSOPInstanceUID | dicomtag (0008,1150) | Uniquely identifies the referenced SOP Instance | cf. SOP Instance UID Attribute ; dicomtag (0008,0018) | string/number | Mandatory |  | https://dicom.innolitics.com/ciods/segmentation/sop-common/00209172/00081150
ROI_Segmentation | ROINumber | dicomtag (3006,0084) | Uniquely identifies the referenced ROI described in the Structure Set ROI Sequence (3006,0020). |  | string | Mandatory |  | https://dicom.innolitics.com/ciods/rt-structure-set/rt-roi-observations/30060080/30060084
ROI_Segmentation | ROIName | dicomtag (3006,0026) | User-defined name for ROI. |  | string | Mandatory |  | https://dicom.innolitics.com/ciods/rt-structure-set/structure-set/30060020/30060026
ROI_Segmentation | ROIDescription | dicomtag (3006,0028) | User-defined description for ROI. |  | string | Mandatory |  | https://dicom.innolitics.com/ciods/rt-structure-set/structure-set/30060020/30060028
ROI_Segmentation | ROIType |  |  | RTStruct ¦¦ nifti | string
ROI_Segmentation | ROIFilename |  | Uniquely identifies the referenced id or filename
RADIOMICS_CRITERIA | SoftwareName |  |  |  | string | Mandatory
RADIOMICS_CRITERIA | SoftwareVersion |  |  |  | string | Mandatory
RADIOMICS_CRITERIA | Method |  | Apply from a ROI ¦¦ Apply directly on image voxels | LOCAL(=ROI) ¦¦ GLOBAL(=image) | string | Mandatory
RADIOMICS_CRITERIA | UsedImageFilter |  | is used or not filter on image before calculation (see RADIOMICS_CRITERIA_ImageFilter) | true/false | boolean | Mandatory
RADIOMICS_CRITERIA | Distance weighting |  | Define how CM, RLM, NGTDM and NGLDM weight distances, e.g. no weighting. | 1, 2, 3, ... | number | Mandatory
RADIOMICS_CRITERIA | NumberOfGreyLevels |  | Describe the number of grey level used for discretisation | 32, 64, 128, 256, 512 | double | Mandatory
RADIOMICS_CRITERIA | BinSize (FBS) |  | Describe the bin size used for discretisation | 0.3, 2, 10, .. | double | Mandatory
RADIOMICS_CRITERIA | IntensityResampling |  | resampling intensity method | relative, absolute, mean+-sd, mean+-3sd | double | Mandatory
RADIOMICS_CRITERIA | LowestIntensity |  | Describe the lowest intensity in the first bin for FBS discretisation | 2 | double | Mandatory
RADIOMICS_CRITERIA | BoundsRangeOfValueAfterDiscretisation |  | bound intensities after discretisation | 0<->100 | double...double | Mandatory
RADIOMICS_CRITERIA | SpatialResamplingMethod |  | Bicubic spline ¦¦ Tricubic spline ¦¦ Lagrangian polynomial |  |  | Mandatory
RADIOMICS_CRITERIA | SpatialResamplingValues |  | x, y, z, spatial resampling | [0.3,0.3,1.2] | [double] | Mandatory
RADIOMICS_CRITERIA | TextureMatrixAggregation |  | Define how texture-matrix based biomarkers were computed from underlying texture matrices. | 3D matrix directly or 13 x 2D matrix | string | Mandatory
RADIOMICS_ImageFilter | SoftwareName
RADIOMICS_ImageFilter | SoftwareVersion
RADIOMICS_ImageFilter | FilterName |  | Mean Filter ¦¦ Laplacian of Gaussian ¦¦ Laws Kernels ¦¦ Gabor ¦¦ Wavelets ¦¦ Riesz ¦¦ Simoncelli | Mean Filter | string | Optional
RADIOMICS_ImageFilter | FilterType |  | Slice-wise (2D) ¦¦ Volume (3D) | Slice-wise | string | Optional
RADIOMICS_ImageFilter | FilterInterpolation |  | Bicubic spline ¦¦ Tricubic spline ¦¦ Lagrangian polynomial | Bicubic spline | string | Optional
RADIOMICS_ImageFilter | IntensityRounding |  | nearest integer | nearest integer | string | Optional
RADIOMICS_ImageFilter | BoundaryCondition |  | zero padding ¦¦ mirror padding ¦¦ periodic padding ¦¦ Constant Value Padding ¦¦ Nearest Value Padding | zero padding | string | Optional
RADIOMICS_FEATURE | Id |  | IBSI id
RADIOMICS_FEATURE | Name |  | IBSI name
RADIOMICS_FEATURE | Value